{"text_format":"3","workbook":"xlsx","n_sheets":8,"sheets":["home","sitevirw","detecation","logbooks","parametri","timing 1-24","service","state"],"not_rendered":{"images":2},"read":"whole","date_system":"1900"}

{"sheet":"home","index":0,"n_rows":14,"n_cols":2,"rows_kept":14}
["Home"]
[]
["Jelgava Iela  Petera  Brieza"]
[]
["Plan","013 -"]
["Timingset",1]
["Time","2025-11-04T13:08:55"]
["Alarms","UNIT,FT"]
["ImFlow","NO CONNECTION"]
[]
["Stream 1"]
["State","CONTROL"]
["Cycle","63 (0)"]
["Mode (Stage)","HCH (0)"]

{"sheet":"sitevirw","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"detecation","index":2,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"logbooks","index":3,"n_rows":490,"n_cols":2,"rows_kept":490}
["Program"]
[]
["Filter: All"]
[]
[1,"20251011:234151 DIM ERR (0)"]
[2,"20251011:093519 198:IMFLOW-1 FORCE LOCAL ON"]
[3,"20251010:234230 X1-S6:CONTROL"]
[4,"20251010:234220 X1-S5:ALL RED"]
[5,"20251010:234216 X1-S4:SWITCH ON"]
[6,"20251010:234201 X1-S3:FLASH"]
[7,"20251010:234201 X1-S2:FLASH"]
[8,"20251010:234201 X1-S1:LAMPS OFF"]
[9,"20251010:234157 238:DOOR CLOSED"]
[10,"20251010:234153 PLAN 13"]
[11,"20251010:234153 239:DOOR CP OPEN"]
[12,"20251010:234153 238:DOOR OPEN"]
[13,"20251010:234153 247:PROGRAM 1"]
[14,"20251010:234153 253:MAINS ON"]
[15,"20251010:234047 X1-S0:LAMPS OFF"]
[16,"20251010:234047 000:POWERFAIL"]
[17,"20251009:073717 DIM ERR (0)"]
[18,"20251008:073756 X1-S6:CONTROL"]
[19,"20251008:073746 X1-S5:ALL RED"]
[20,"20251008:073742 X1-S4:SWITCH ON"]
[21,"20251008:073727 X1-S3:FLASH"]
[22,"20251008:073727 X1-S2:FLASH"]
[23,"20251008:073727 X1-S1:LAMPS OFF"]
[24,"20251008:073723 238:DOOR CLOSED"]
[25,"20251008:073718 PLAN 13"]
[26,"20251008:073718 239:DOOR CP OPEN"]
[27,"20251008:073718 238:DOOR OPEN"]
[28,"20251008:073718 247:PROGRAM 1"]
[29,"20251008:073718 253:MAINS ON"]
[30,"20251008:073613 X1-S0:LAMPS OFF"]
[31,"20251008:073613 000:POWERFAIL"]
[32,"20251005:001427 DIM ERR (0)"]
[33,"20251004:001601 X1-S6:CONTROL"]
[34,"20251004:001551 X1-S5:ALL RED"]
[35,"20251004:001547 X1-S4:SWITCH ON"]
[36,"20251004:001532 X1-S3:FLASH"]
[37,"20251004:001532 X1-S2:FLASH"]
[38,"20251004:001532 X1-S1:LAMPS OFF"]
[39,"20251004:001529 202:RESET ALARMS"]
[40,"20251004:001528 213:AUTO-RESET"]
[41,"20251004:001433 238:DOOR CLOSED"]
[42,"20251004:001429 255:FATAL ALARM"]
[43,"20251004:001429 014:CPU-B COM CPU-A"]
[44,"20251004:001429 013:CPU-B LOC-LOC"]
[45,"20251004:001429 007:CPU-B LOT SLOW"]
[46,"20251004:001429 006:CPU-B LCM DIAG"]
[47,"20251004:001429 000:POWERFAIL"]
[48,"20251004:001429 PLAN 13"]
[49,"20251004:001429 239:DOOR CP OPEN"]
[50,"20251004:001429 238:DOOR OPEN"]
[51,"20251004:001429 247:PROGRAM 1"]
[52,"20251004:001429 253:MAINS ON"]
[53,"20250912:033311 X1-S6:CONTROL"]
[54,"20250912:033301 X1-S5:ALL RED"]
[55,"20250912:033257 X1-S4:SWITCH ON"]
[56,"20250912:033242 X1-S3:FLASH"]
[57,"20250912:033242 X1-S2:FLASH"]
[58,"20250912:033241 X1-S1:LAMPS OFF"]
[59,"20250912:033239 X1-S0:LAMPS OFF"]
[60,"20250912:033239 001:MAINS LOW"]
[61,"20250911:142508 X1-S6:CONTROL"]
[62,"20250911:142458 X1-S5:ALL RED"]
[63,"20250911:142454 X1-S4:SWITCH ON"]
[64,"20250911:142439 X1-S3:FLASH"]
[65,"20250911:142439 X1-S2:FLASH"]
[66,"20250911:142439 X1-S1:LAMPS OFF"]
[67,"20250911:142437 X1-S0:LAMPS OFF"]
[68,"20250911:142436 001:MAINS LOW"]
[69,"20250911:142302 X1-S6:CONTROL"]
[70,"20250911:142252 X1-S5:ALL RED"]
[71,"20250911:142248 X1-S4:SWITCH ON"]
[72,"20250911:142233 X1-S3:FLASH"]
[73,"20250911:142233 X1-S2:FLASH"]
[74,"20250911:142232 X1-S1:LAMPS OFF"]
[75,"20250911:142230 X1-S0:LAMPS OFF"]
[76,"20250911:142230 001:MAINS LOW"]
[77,"20250911:142015 X1-S6:CONTROL"]
[78,"20250911:142005 X1-S5:ALL RED"]
[79,"20250911:142001 X1-S4:SWITCH ON"]
[80,"20250911:141946 X1-S3:FLASH"]
[81,"20250911:141946 X1-S2:FLASH"]
[82,"20250911:141945 X1-S1:LAMPS OFF"]
[83,"20250911:141943 X1-S0:LAMPS OFF"]
[84,"20250911:141943 001:MAINS LOW"]
[85,"20250829:121953 DIM ERR (0)"]
[86,"20250828:122128 X1-S6:CONTROL"]
[87,"20250828:122118 X1-S5:ALL RED"]
[88,"20250828:122114 X1-S4:SWITCH ON"]
[89,"20250828:122059 X1-S3:FLASH"]
[90,"20250828:122059 X1-S2:FLASH"]
[91,"20250828:122058 X1-S1:LAMPS OFF"]
[92,"20250828:122055 202:RESET ALARMS"]
[93,"20250828:122055 213:AUTO-RESET"]
[94,"20250828:122000 238:DOOR CLOSED"]
[95,"20250828:121956 255:FATAL ALARM"]
[96,"20250828:121956 014:CPU-B COM CPU-A"]
[97,"20250828:121956 013:CPU-B LOC-LOC"]
[98,"20250828:121956 007:CPU-B LOT SLOW"]
[99,"20250828:121956 006:CPU-B LCM DIAG"]
[100,"20250828:121956 000:POWERFAIL"]
[101,"20250828:121956 PLAN 13"]
[102,"20250828:121956 239:DOOR CP OPEN"]
[103,"20250828:121956 238:DOOR OPEN"]
[104,"20250828:121956 247:PROGRAM 1"]
[105,"20250828:121956 253:MAINS ON"]
[106,"20250724:032910 DIM ERR (0)"]
[107,"20250723:033045 X1-S6:CONTROL"]
[108,"20250723:033035 X1-S5:ALL RED"]
[109,"20250723:033031 X1-S4:SWITCH ON"]
[110,"20250723:033016 X1-S3:FLASH"]
[111,"20250723:033016 X1-S2:FLASH"]
[112,"20250723:033015 X1-S1:LAMPS OFF"]
[113,"20250723:033012 202:RESET ALARMS"]
[114,"20250723:033012 213:AUTO-RESET"]
[115,"20250723:032917 238:DOOR CLOSED"]
[116,"20250723:032913 255:FATAL ALARM"]
[117,"20250723:032913 014:CPU-B COM CPU-A"]
[118,"20250723:032913 013:CPU-B LOC-LOC"]
[119,"20250723:032913 007:CPU-B LOT SLOW"]
[120,"20250723:032913 006:CPU-B LCM DIAG"]
[121,"20250723:032913 000:POWERFAIL"]
[122,"20250723:032913 PLAN 13"]
[123,"20250723:032913 239:DOOR CP OPEN"]
[124,"20250723:032913 238:DOOR OPEN"]
[125,"20250723:032913 247:PROGRAM 1"]
[126,"20250723:032913 253:MAINS ON"]
[127,"20250720:202217 X1-S6:CONTROL"]
[128,"20250720:202207 X1-S5:ALL RED"]
[129,"20250720:202203 X1-S4:SWITCH ON"]
[130,"20250720:202148 X1-S3:FLASH"]
[131,"20250720:202148 X1-S2:FLASH"]
[132,"20250720:202147 X1-S1:LAMPS OFF"]
[133,"20250720:202145 X1-S0:LAMPS OFF"]
[134,"20250720:202145 001:MAINS LOW"]
[135,"20250720:201824 X1-S6:CONTROL"]
[136,"20250720:201814 X1-S5:ALL RED"]
[137,"20250720:201810 X1-S4:SWITCH ON"]
[138,"20250720:201755 X1-S3:FLASH"]
[139,"20250720:201755 X1-S2:FLASH"]
[140,"20250720:201754 X1-S1:LAMPS OFF"]
[141,"20250720:201752 X1-S0:LAMPS OFF"]
[142,"20250720:201751 001:MAINS LOW"]
[143,"20250720:201739 X1-S3:FLASH"]
[144,"20250720:201739 X1-S2:FLASH"]
[145,"20250720:201738 X1-S1:LAMPS OFF"]
[146,"20250720:201736 X1-S0:LAMPS OFF"]
[147,"20250720:201736 001:MAINS LOW"]
[148,"20250717:173433 X1-S6:CONTROL"]
[149,"20250717:173423 X1-S5:ALL RED"]
[150,"20250717:173419 X1-S4:SWITCH ON"]
[151,"20250717:173404 X1-S3:FLASH"]
[152,"20250717:173404 X1-S2:FLASH"]
[153,"20250717:173403 X1-S1:LAMPS OFF"]
[154,"20250717:173401 X1-S0:LAMPS OFF"]
[155,"20250717:173401 001:MAINS LOW"]
[156,"20250717:145917 X1-S6:CONTROL"]
[157,"20250717:145907 X1-S5:ALL RED"]
[158,"20250717:145903 X1-S4:SWITCH ON"]
[159,"20250717:145848 X1-S3:FLASH"]
[160,"20250717:145848 X1-S2:FLASH"]
[161,"20250717:145847 X1-S1:LAMPS OFF"]
[162,"20250717:145845 X1-S0:LAMPS OFF"]
[163,"20250717:145845 001:MAINS LOW"]
[164,"20250617:162620 DIM ERR (0)"]
[165,"20250616:162755 X1-S6:CONTROL"]
[166,"20250616:162745 X1-S5:ALL RED"]
[167,"20250616:162741 X1-S4:SWITCH ON"]
[168,"20250616:162726 X1-S3:FLASH"]
[169,"20250616:162726 X1-S2:FLASH"]
[170,"20250616:162725 X1-S1:LAMPS OFF"]
[171,"20250616:162722 202:RESET ALARMS"]
[172,"20250616:162722 213:AUTO-RESET"]
[173,"20250616:162627 238:DOOR CLOSED"]
[174,"20250616:162623 255:FATAL ALARM"]
[175,"20250616:162623 014:CPU-B COM CPU-A"]
[176,"20250616:162623 013:CPU-B LOC-LOC"]
[177,"20250616:162623 007:CPU-B LOT SLOW"]
[178,"20250616:162623 006:CPU-B LCM DIAG"]
[179,"20250616:162623 000:POWERFAIL"]
[180,"20250616:162623 PLAN 13"]
[181,"20250616:162623 239:DOOR CP OPEN"]
[182,"20250616:162623 238:DOOR OPEN"]
[183,"20250616:162623 247:PROGRAM 1"]
[184,"20250616:162623 253:MAINS ON"]
[185,"20250527:163704 X1-S6:CONTROL"]
[186,"20250527:163654 X1-S5:ALL RED"]
[187,"20250527:163650 X1-S4:SWITCH ON"]
[188,"20250527:163635 X1-S3:FLASH"]
[189,"20250527:163635 X1-S2:FLASH"]
[190,"20250527:163634 X1-S1:LAMPS OFF"]
[191,"20250527:163632 X1-S0:LAMPS OFF"]
[192,"20250527:163632 000:POWERFAIL"]
[193,"20250511:183711 DIM ERR (0)"]
[194,"20250510:183845 X1-S6:CONTROL"]
[195,"20250510:183835 X1-S5:ALL RED"]
[196,"20250510:183831 X1-S4:SWITCH ON"]
[197,"20250510:183816 X1-S3:FLASH"]
[198,"20250510:183816 X1-S2:FLASH"]
[199,"20250510:183815 X1-S1:LAMPS OFF"]
[200,"20250510:183812 202:RESET ALARMS"]
[201,"20250510:183812 213:AUTO-RESET"]
[202,"20250510:183717 238:DOOR CLOSED"]
[203,"20250510:183713 255:FATAL ALARM"]
[204,"20250510:183713 014:CPU-B COM CPU-A"]
[205,"20250510:183713 013:CPU-B LOC-LOC"]
[206,"20250510:183713 007:CPU-B LOT SLOW"]
[207,"20250510:183713 006:CPU-B LCM DIAG"]
[208,"20250510:183713 000:POWERFAIL"]
[209,"20250510:183713 PLAN 13"]
[210,"20250510:183713 239:DOOR CP OPEN"]
[211,"20250510:183713 238:DOOR OPEN"]
[212,"20250510:183713 247:PROGRAM 1"]
[213,"20250510:183713 253:MAINS ON"]
[214,"20250411:085921 X1-S6:CONTROL"]
[215,"20250411:085911 X1-S5:ALL RED"]
[216,"20250411:085907 X1-S4:SWITCH ON"]
[217,"20250411:085852 X1-S3:FLASH"]
[218,"20250411:085852 X1-S2:FLASH"]
[219,"20250411:085851 X1-S1:LAMPS OFF"]
[220,"20250411:085849 X1-S0:LAMPS OFF"]
[221,"20250411:085849 X1-S3:FLASH"]
[222,"20250411:085849 X1-S2:FLASH"]
[223,"20250411:085848 X1-S1:LAMPS OFF"]
[224,"20250411:085846 X1-S0:LAMPS OFF"]
[225,"20250411:085846 001:MAINS LOW"]
[226,"20250405:082429 DIM ERR (0)"]
[227,"20250404:082604 X1-S6:CONTROL"]
[228,"20250404:082554 X1-S5:ALL RED"]
[229,"20250404:082550 X1-S4:SWITCH ON"]
[230,"20250404:082535 X1-S3:FLASH"]
[231,"20250404:082535 X1-S2:FLASH"]
[232,"20250404:082534 X1-S1:LAMPS OFF"]
[233,"20250404:082531 202:RESET ALARMS"]
[234,"20250404:082531 213:AUTO-RESET"]
[235,"20250404:082436 238:DOOR CLOSED"]
[236,"20250404:082432 255:FATAL ALARM"]
[237,"20250404:082432 014:CPU-B COM CPU-A"]
[238,"20250404:082432 013:CPU-B LOC-LOC"]
[239,"20250404:082432 007:CPU-B LOT SLOW"]
[240,"20250404:082432 006:CPU-B LCM DIAG"]
[241,"20250404:082432 000:POWERFAIL"]
[242,"20250404:082432 PLAN 13"]
[243,"20250404:082432 239:DOOR CP OPEN"]
[244,"20250404:082432 238:DOOR OPEN"]
[245,"20250404:082432 247:PROGRAM 1"]
[246,"20250404:082432 253:MAINS ON"]
[247,"20250330:130051 X1-S6:CONTROL"]
[248,"20250330:130041 X1-S5:ALL RED"]
[249,"20250330:130037 X1-S4:SWITCH ON"]
[250,"20250330:130022 X1-S3:FLASH"]
[251,"20250330:130022 X1-S2:FLASH"]
[252,"20250330:130021 X1-S1:LAMPS OFF"]
[253,"20250330:130019 X1-S0:LAMPS OFF"]
[254,"20250330:130019 000:POWERFAIL"]
[255,"20250301:205612 DIM ERR (0)"]
[256,"20250228:205652 X1-S6:CONTROL"]
[257,"20250228:205642 X1-S5:ALL RED"]
[258,"20250228:205638 X1-S4:SWITCH ON"]
[259,"20250228:205623 X1-S3:FLASH"]
[260,"20250228:205623 X1-S2:FLASH"]
[261,"20250228:205622 X1-S1:LAMPS OFF"]
[262,"20250228:205618 238:DOOR CLOSED"]
[263,"20250228:205614 PLAN 13"]
[264,"20250228:205614 239:DOOR CP OPEN"]
[265,"20250228:205614 238:DOOR OPEN"]
[266,"20250228:205614 247:PROGRAM 1"]
[267,"20250228:205614 253:MAINS ON"]
[268,"20250228:205406 X1-S0:LAMPS OFF"]
[269,"20250228:205406 000:POWERFAIL"]
[270,"20250216:114903 DIM ERR (0)"]
[271,"20250215:120344 202:RESET ALARMS"]
[272,"20250215:115038 X1-S6:CONTROL"]
[273,"20250215:115028 X1-S5:ALL RED"]
[274,"20250215:115024 X1-S4:SWITCH ON"]
[275,"20250215:115009 X1-S3:FLASH"]
[276,"20250215:115009 X1-S2:FLASH"]
[277,"20250215:115008 X1-S1:LAMPS OFF"]
[278,"20250215:115005 202:RESET ALARMS"]
[279,"20250215:115005 213:AUTO-RESET"]
[280,"20250215:114910 238:DOOR CLOSED"]
[281,"20250215:114906 255:FATAL ALARM"]
[282,"20250215:114906 014:CPU-B COM CPU-A"]
[283,"20250215:114906 013:CPU-B LOC-LOC"]
[284,"20250215:114906 007:CPU-B LOT SLOW"]
[285,"20250215:114906 006:CPU-B LCM DIAG"]
[286,"20250215:114906 000:POWERFAIL"]
[287,"20250215:114906 PLAN 13"]
[288,"20250215:114906 239:DOOR CP OPEN"]
[289,"20250215:114906 238:DOOR OPEN"]
[290,"20250215:114906 247:PROGRAM 1"]
[291,"20250215:114906 253:MAINS ON"]
[292,"20250111:104336 DIM ERR (0)"]
[293,"20250110:104511 X1-S6:CONTROL"]
[294,"20250110:104501 X1-S5:ALL RED"]
[295,"20250110:104457 X1-S4:SWITCH ON"]
[296,"20250110:104442 X1-S3:FLASH"]
[297,"20250110:104442 X1-S2:FLASH"]
[298,"20250110:104441 X1-S1:LAMPS OFF"]
[299,"20250110:104438 202:RESET ALARMS"]
[300,"20250110:104438 213:AUTO-RESET"]
[301,"20250110:104343 238:DOOR CLOSED"]
[302,"20250110:104339 255:FATAL ALARM"]
[303,"20250110:104339 014:CPU-B COM CPU-A"]
[304,"20250110:104339 013:CPU-B LOC-LOC"]
[305,"20250110:104339 007:CPU-B LOT SLOW"]
[306,"20250110:104339 006:CPU-B LCM DIAG"]
[307,"20250110:104339 000:POWERFAIL"]
[308,"20250110:104339 PLAN 13"]
[309,"20250110:104339 239:DOOR CP OPEN"]
[310,"20250110:104339 238:DOOR OPEN"]
[311,"20250110:104339 247:PROGRAM 1"]
[312,"20250110:104339 253:MAINS ON"]
[313,"20250104:043231 X1-S6:CONTROL"]
[314,"20250104:043221 X1-S5:ALL RED"]
[315,"20250104:043217 X1-S4:SWITCH ON"]
[316,"20250104:043202 X1-S3:FLASH"]
[317,"20250104:043202 X1-S2:FLASH"]
[318,"20250104:043201 X1-S1:LAMPS OFF"]
[319,"20250104:043159 X1-S0:LAMPS OFF"]
[320,"20250104:043159 001:MAINS LOW"]
[321,"20250102:000924 X1-S6:CONTROL"]
[322,"20250102:000914 X1-S5:ALL RED"]
[323,"20250102:000910 X1-S4:SWITCH ON"]
[324,"20250102:000855 X1-S3:FLASH"]
[325,"20250102:000855 X1-S2:FLASH"]
[326,"20250102:000854 X1-S1:LAMPS OFF"]
[327,"20250102:000852 X1-S0:LAMPS OFF"]
[328,"20250102:000851 X1-S1:LAMPS OFF"]
[329,"20250102:000849 X1-S0:LAMPS OFF"]
[330,"20250102:000849 001:MAINS LOW"]
[331,"20241226:171340 X1-S6:CONTROL"]
[332,"20241226:171330 X1-S5:ALL RED"]
[333,"20241226:171326 X1-S4:SWITCH ON"]
[334,"20241226:171311 X1-S3:FLASH"]
[335,"20241226:171311 X1-S2:FLASH"]
[336,"20241226:171311 X1-S1:LAMPS OFF"]
[337,"20241226:171309 X1-S0:LAMPS OFF"]
[338,"20241226:171309 001:MAINS LOW"]
[339,"20241219:163641 X1-S6:CONTROL"]
[340,"20241219:163631 X1-S5:ALL RED"]
[341,"20241219:163627 X1-S4:SWITCH ON"]
[342,"20241219:163612 X1-S3:FLASH"]
[343,"20241219:163612 X1-S2:FLASH"]
[344,"20241219:163611 X1-S1:LAMPS OFF"]
[345,"20241219:163609 X1-S0:LAMPS OFF"]
[346,"20241219:163609 001:MAINS LOW"]
[347,"20241216:073927 X1-S6:CONTROL"]
[348,"20241216:073917 X1-S5:ALL RED"]
[349,"20241216:073913 X1-S4:SWITCH ON"]
[350,"20241216:073858 X1-S3:FLASH"]
[351,"20241216:073858 X1-S2:FLASH"]
[352,"20241216:073857 X1-S1:LAMPS OFF"]
[353,"20241216:073855 X1-S0:LAMPS OFF"]
[354,"20241216:073855 001:MAINS LOW"]
[355,"20241214:101833 X1-S6:CONTROL"]
[356,"20241214:101823 X1-S5:ALL RED"]
[357,"20241214:101819 X1-S4:SWITCH ON"]
[358,"20241214:101804 X1-S3:FLASH"]
[359,"20241214:101804 X1-S2:FLASH"]
[360,"20241214:101803 X1-S1:LAMPS OFF"]
[361,"20241214:101801 X1-S0:LAMPS OFF"]
[362,"20241214:101801 001:MAINS LOW"]
[363,"20241206:011114 DIM ERR (0)"]
[364,"20241205:011249 X1-S6:CONTROL"]
[365,"20241205:011239 X1-S5:ALL RED"]
[366,"20241205:011235 X1-S4:SWITCH ON"]
[367,"20241205:011220 X1-S3:FLASH"]
[368,"20241205:011220 X1-S2:FLASH"]
[369,"20241205:011219 X1-S1:LAMPS OFF"]
[370,"20241205:011216 202:RESET ALARMS"]
[371,"20241205:011216 213:AUTO-RESET"]
[372,"20241205:011121 238:DOOR CLOSED"]
[373,"20241205:011117 255:FATAL ALARM"]
[374,"20241205:011117 014:CPU-B COM CPU-A"]
[375,"20241205:011117 013:CPU-B LOC-LOC"]
[376,"20241205:011117 007:CPU-B LOT SLOW"]
[377,"20241205:011117 006:CPU-B LCM DIAG"]
[378,"20241205:011117 000:POWERFAIL"]
[379,"20241205:011117 PLAN 13"]
[380,"20241205:011117 239:DOOR CP OPEN"]
[381,"20241205:011117 238:DOOR OPEN"]
[382,"20241205:011117 247:PROGRAM 1"]
[383,"20241205:011117 253:MAINS ON"]
[384,"20241120:122345 X1-S6:CONTROL"]
[385,"20241120:122335 X1-S5:ALL RED"]
[386,"20241120:122331 X1-S4:SWITCH ON"]
[387,"20241120:122316 X1-S3:FLASH"]
[388,"20241120:122316 X1-S2:FLASH"]
[389,"20241120:122315 X1-S1:LAMPS OFF"]
[390,"20241120:122313 X1-S0:LAMPS OFF"]
[391,"20241120:122313 001:MAINS LOW"]
[392,"20241030:121030 X1-S6:CONTROL"]
[393,"20241030:121020 X1-S5:ALL RED"]
[394,"20241030:121016 X1-S4:SWITCH ON"]
[395,"20241030:121001 X1-S3:FLASH"]
[396,"20241030:121001 X1-S2:FLASH"]
[397,"20241030:121001 X1-S1:LAMPS OFF"]
[398,"20241030:120959 X1-S0:LAMPS OFF"]
[399,"20241030:120959 001:MAINS LOW"]
[400,"20241030:112332 DIM ERR (0)"]
[401,"20241029:112412 X1-S6:CONTROL"]
[402,"20241029:112402 X1-S5:ALL RED"]
[403,"20241029:112358 X1-S4:SWITCH ON"]
[404,"20241029:112343 X1-S3:FLASH"]
[405,"20241029:112343 X1-S2:FLASH"]
[406,"20241029:112343 X1-S1:LAMPS OFF"]
[407,"20241029:112339 238:DOOR CLOSED"]
[408,"20241029:112334 PLAN 13"]
[409,"20241029:112334 239:DOOR CP OPEN"]
[410,"20241029:112334 238:DOOR OPEN"]
[411,"20241029:112334 247:PROGRAM 1"]
[412,"20241029:112334 253:MAINS ON"]
[413,"20241029:110845 X1-S0:LAMPS OFF"]
[414,"20241029:110845 000:POWERFAIL"]
[415,"20241009:112145 DIM ERR (0)"]
[416,"20241008:112225 X1-S6:CONTROL"]
[417,"20241008:112215 X1-S5:ALL RED"]
[418,"20241008:112211 X1-S4:SWITCH ON"]
[419,"20241008:112156 X1-S3:FLASH"]
[420,"20241008:112156 X1-S2:FLASH"]
[421,"20241008:112155 X1-S1:LAMPS OFF"]
[422,"20241008:112151 238:DOOR CLOSED"]
[423,"20241008:112147 PLAN 13"]
[424,"20241008:112147 239:DOOR CP OPEN"]
[425,"20241008:112147 238:DOOR OPEN"]
[426,"20241008:112147 247:PROGRAM 1"]
[427,"20241008:112147 253:MAINS ON"]
[428,"20241008:111434 X1-S0:LAMPS OFF"]
[429,"20241008:111434 000:POWERFAIL"]
[430,"20241002:110340 X1-S6:CONTROL"]
[431,"20241002:110330 X1-S5:ALL RED"]
[432,"20241002:110326 X1-S4:SWITCH ON"]
[433,"20241002:110311 X1-S3:FLASH"]
[434,"20241002:110311 X1-S2:FLASH"]
[435,"20241002:110311 X1-S1:LAMPS OFF"]
[436,"20241002:110309 X1-S0:LAMPS OFF"]
[437,"20241002:110308 001:MAINS LOW"]
[438,"20241001:092149 DIM ERR (0)"]
[439,"20240930:092324 X1-S6:CONTROL"]
[440,"20240930:092314 X1-S5:ALL RED"]
[441,"20240930:092310 X1-S4:SWITCH ON"]
[442,"20240930:092256 202:RESET ALARMS"]
[443,"20240930:092255 X1-S3:FLASH"]
[444,"20240930:092255 X1-S2:FLASH"]
[445,"20240930:092254 X1-S1:LAMPS OFF"]
[446,"20240930:092251 202:RESET ALARMS"]
[447,"20240930:092251 213:AUTO-RESET"]
[448,"20240930:092157 238:DOOR CLOSED"]
[449,"20240930:092152 255:FATAL ALARM"]
[450,"20240930:092152 014:CPU-B COM CPU-A"]
[451,"20240930:092152 013:CPU-B LOC-LOC"]
[452,"20240930:092152 007:CPU-B LOT SLOW"]
[453,"20240930:092152 006:CPU-B LCM DIAG"]
[454,"20240930:092152 000:POWERFAIL"]
[455,"20240930:092152 PLAN 13"]
[456,"20240930:092152 239:DOOR CP OPEN"]
[457,"20240930:092152 238:DOOR OPEN"]
[458,"20240930:092152 247:PROGRAM 1"]
[459,"20240930:092152 253:MAINS ON"]
[460,"20240906:010154 X1-S6:CONTROL"]
[461,"20240906:010142 X1-S5:ALL RED"]
[462,"20240906:010142 PLAN 13"]
[463,"20240831:235206 DIM ERR (0)"]
[464,"20240831:001700 X1-S6:CONTROL"]
[465,"20240831:001635 X1-S5:ALL RED"]
[466,"20240831:001635 PLAN 12"]
[467,"20240830:235332 X1-S6:CONTROL"]
[468,"20240830:235322 X1-S5:ALL RED"]
[469,"20240830:235318 X1-S4:SWITCH ON"]
[470,"20240830:235303 X1-S3:FLASH"]
[471,"20240830:235303 X1-S2:FLASH"]
[472,"20240830:235303 X1-S1:LAMPS OFF"]
[473,"20240830:235300 202:RESET ALARMS"]
[474,"20240830:235214 238:DOOR CLOSED"]
[475,"20240830:235209 255:FATAL ALARM"]
[476,"20240830:235209 014:CPU-B COM CPU-A"]
[477,"20240830:235209 013:CPU-B LOC-LOC"]
[478,"20240830:235209 007:CPU-B LOT SLOW"]
[479,"20240830:235209 006:CPU-B LCM DIAG"]
[480,"20240830:235209 000:POWERFAIL"]
[481,"20240830:235209 PLAN 13"]
[482,"20240830:235209 246:RESET PROG PARM"]
[483,"20240830:235209 239:DOOR CP OPEN"]
[484,"20240830:235209 238:DOOR OPEN"]
[485,"20240830:235209 247:PROGRAM 1"]
[486,"20240830:235209 253:MAINS ON"]

{"sheet":"parametri","index":4,"n_rows":67,"n_cols":46,"rows_kept":67}
[{"$nulls":11},"Signalgroup times",{"$nulls":5},"Application parameters",{"$nulls":5},"Detection settings",{"$nulls":8},"Clearance times",{"$nulls":9},"Planselection (day of week)"]
[]
[{"$nulls":11},"ID","Signalgroup","Minimum green","Amber","Red/Amber",null,"ID","Name","Value","Min","Max",null,"ID","Detector","DTO","DTC","GAP1","GAP2","Max. Unoccupied","Max. occupied",null,null,"V1","V4","V7","V10","GP1","GP4","GP7","GP10",null,"ID","Day","Time","Plan"]
[{"$nulls":11},1,"V1","5.0","3.0","2.0",null,1,"WYG_GP1",0,0,9999,null,1,"PB1","0.0","0.0","0.0","0.0",1,"00:10:00",null,"V1","-","7.0","-","7.0","6.0","-","8.0","-",null,1,"MTWTFSS--","00:00:00",63]
[{"$nulls":11},2,"V4","5.0","3.0","2.0",null,2,"WYG_GP4",0,0,9999,null,2,"PB4","0.0","0.0","0.0","0.0",1,"00:10:00",null,"V4","6.0","-","6.0","-","-","6.0","-","8.0",null,2,"---------","00:00:00",1]
[{"$nulls":11},3,"V7","5.0","3.0","2.0",null,3,"WYG_GP7",0,0,9999,null,3,"PB7","0.0","0.0","0.0","0.0",1,"00:10:00",null,"V7","-","6.0","-","6.0","8.0","-","6.0","-",null,3,"---------","00:00:00",1]
[{"$nulls":11},4,"V10","5.0","3.0","2.0",null,4,"WYG_GP10",0,0,9999,null,4,"PB10","0.0","0.0","0.0","0.0",1,"00:10:00",null,"V10","6.0","-","6.0","-","-","8.0","-","6.0",null,4,"---------","00:00:00",1]
[{"$nulls":11},5,"GP1","9.0","0.0","0.0",null,5,"REG_GP1",0,0,9999,null,"Legend",{"$nulls":8},"GP1","8.0","-","7.0","-","-","-","-","-",null,5,"---------","00:00:00",1]
[{"$nulls":11},6,"GP4","12.0","0.0","0.0",null,6,"REG_GP4",0,0,9999,null,"DTO","The time span which the Detector must be occupied before the Detector will report to the Signal Group. [s]",{"$nulls":7},"GP4","-","10.0","-","8.0","-","-","-","-",null,6,"---------","00:00:00",1]
[{"$nulls":11},7,"GP7","16.0","0.0","0.0",null,7,"REG_GP7",0,0,9999,null,"DTC","The time span which a detector must be unoccupied before an existing Detector signal will be withdrawn.",{"$nulls":7},"GP7","11.0","-","13.0","-","-","-","-","-",null,7,"---------","00:00:00",1]
[{"$nulls":11},8,"GP10","12.0","0.0","0.0",null,8,"REG_GP10",0,0,9999,null,"GAP1","Time Gap 1 [s]",{"$nulls":7},"GP10","-","9.0","-","10.0","-","-","-","-",null,8,"---------","00:00:00",1]
[{"$nulls":11},"Legend",{"$nulls":5},9,"HTTP_SEC",20,10,9999,null,"GAP2","Time Gap 2 [s]",{"$nulls":17},9,"---------","00:00:00",1]
[{"$nulls":11},"Minimum green","Minimum green time [s]",{"$nulls":4},10,"SYNC_ACTIVE",1,0,1,null,"Max. Unoccupied","Maximum Unoccupied Time [s]",{"$nulls":17},10,"---------","00:00:00",1]
[{"$nulls":11},"Amber","Amber time [s]",{"$nulls":4},11,"Start_day_mode",700,0,9999,null,"Max. occupied","Maximum Occupied Time [s]",{"$nulls":17},11,"---------","00:00:00",1]
[{"$nulls":11},"Red/Amber","Red/amber time [s]",{"$nulls":4},12,"Start_night_mode",2000,0,9999,{"$nulls":20},12,"---------","00:00:00",1]
[{"$nulls":17},13,"Day_mode",200,0,9999,{"$nulls":20},13,"---------","00:00:00",1]
[{"$nulls":17},14,"Night_mode",1200,0,9999,{"$nulls":20},14,"---------","00:00:00",1]
[{"$nulls":17},15,"ACC_NONC",2,1,2,{"$nulls":20},15,"---------","00:00:00",1]
[{"$nulls":17},16,"TPRES",30,0,9999,{"$nulls":20},16,"---------","00:00:00",1]
[{"$nulls":17},17,"Start_3s_1",700,0,9999,{"$nulls":20},17,"---------","00:00:00",1]
[{"$nulls":17},18,"End_3s_1",900,0,9999,{"$nulls":20},18,"---------","00:00:00",1]
[{"$nulls":17},19,"Start_3s_2",1700,0,9999,{"$nulls":20},19,"---------","00:00:00",1]
[{"$nulls":17},20,"End_3s_2",2200,0,9999,{"$nulls":20},20,"---------","00:00:00",1]
[{"$nulls":17},21,"GRNCNTEND",1,0,9999,{"$nulls":20},21,"---------","00:00:00",1]
[{"$nulls":17},22,"INVERT_PB",1,0,1,{"$nulls":20},22,"---------","00:00:00",1]
[{"$nulls":17},"Legend",{"$nulls":24},23,"---------","00:00:00",1]
[{"$nulls":17},"Value","Value",{"$nulls":23},24,"---------","00:00:00",1]
[{"$nulls":17},"Min","Minimum value",{"$nulls":23},25,"---------","00:00:00",1]
[{"$nulls":17},"Max","Maximum value",{"$nulls":23},26,"---------","00:00:00",1]
[{"$nulls":42},27,"---------","00:00:00",1]
[{"$nulls":42},28,"---------","00:00:00",1]
[{"$nulls":42},29,"---------","00:00:00",1]
[{"$nulls":42},30,"---------","00:00:00",1]
[{"$nulls":42},31,"---------","00:00:00",1]
[{"$nulls":42},32,"---------","00:00:00",1]
[{"$nulls":42},33,"---------","00:00:00",1]
[{"$nulls":42},34,"---------","00:00:00",1]
[{"$nulls":42},35,"---------","00:00:00",1]
[{"$nulls":42},36,"---------","00:00:00",1]
[{"$nulls":42},37,"---------","00:00:00",1]
[{"$nulls":42},38,"---------","00:00:00",1]
[{"$nulls":42},39,"---------","00:00:00",1]
[{"$nulls":42},40,"---------","00:00:00",1]
[{"$nulls":42},41,"---------","00:00:00",1]
[{"$nulls":42},42,"---------","00:00:00",1]
[{"$nulls":42},43,"---------","00:00:00",1]
[{"$nulls":42},44,"---------","00:00:00",1]
[{"$nulls":42},45,"---------","00:00:00",1]
[{"$nulls":42},46,"---------","00:00:00",1]
[{"$nulls":42},47,"---------","00:00:00",1]
[{"$nulls":42},48,"---------","00:00:00",1]
[{"$nulls":42},49,"---------","00:00:00",1]
[{"$nulls":42},50,"---------","00:00:00",1]
[{"$nulls":42},51,"---------","00:00:00",1]
[{"$nulls":42},52,"---------","00:00:00",1]
[{"$nulls":42},53,"---------","00:00:00",1]
[{"$nulls":42},54,"---------","00:00:00",1]
[{"$nulls":42},55,"---------","00:00:00",1]
[{"$nulls":42},56,"---------","00:00:00",1]
[{"$nulls":42},57,"---------","00:00:00",1]
[{"$nulls":42},58,"---------","00:00:00",1]
[{"$nulls":42},59,"---------","00:00:00",1]
[{"$nulls":42},60,"---------","00:00:00",1]
[{"$nulls":42},61,"---------","00:00:00",1]
[{"$nulls":42},62,"---------","00:00:00",1]
[{"$nulls":42},63,"---------","00:00:00",1]
[{"$nulls":42},64,"---------","00:00:00",1]

{"sheet":"timing 1-24","index":5,"n_rows":38,"n_cols":45,"rows_kept":38}
[{"$nulls":18},"Timingset parameters (1..8)",{"$nulls":13},"Timingset parameters (9..16)"]
[]
[{"$nulls":18},"ID","Name","Default",1,2,3,4,5,6,7,8,"Min","Max",null,"ID","Name","Default",9,10,11,12,13,14,15,16,"Min","Max"]
[{"$nulls":18},1,"Cycle",120,120,120,120,120,120,120,120,120,60,300,null,1,"Cycle",120,120,120,120,120,120,120,120,120,60,300]
[{"$nulls":18},2,"Offset",0,112,91,112,31,91,112,0,31,0,9999,null,2,"Offset",0,91,112,31,91,112,31,91,112,0,9999]
[{"$nulls":18},3,"MaxExt",60,60,60,60,60,60,60,60,60,0,9999,null,3,"MaxExt",60,60,60,60,60,60,60,60,60,0,9999]
[{"$nulls":18},4,"F1f",50,57,52,52,52,52,52,52,52,0,9999,null,4,"F1f",50,57,57,60,60,63,57,57,57,0,9999]
[{"$nulls":18},5,"F1cf",10,7,-1,-1,-1,-1,-1,-1,7,0,9999,null,5,"F1cf",10,7,7,4,4,4,7,7,7,0,9999]
[{"$nulls":18},6,"F1af",10,15,15,15,15,15,15,15,15,0,9999,null,6,"F1af",10,-1,-1,-1,-1,-1,-1,-1,-1,0,9999]
[{"$nulls":18},7,"F2af",10,15,15,15,15,15,15,15,-1,0,9999,null,7,"F2af",10,15,15,15,15,15,15,15,15,0,9999]
[{"$nulls":18},8,"F2f",10,12,12,12,12,12,12,12,12,0,9999,null,8,"F2f",10,12,12,9,9,9,12,12,12,0,9999]
[{"$nulls":18},"Legend",{"$nulls":13},"Legend"]
[{"$nulls":18},"Default","Default value",{"$nulls":12},"Default","Default value"]
[{"$nulls":18},"2025-08-01","Value (-1 = default value)",{"$nulls":12},"2016-09-01","Value (-1 = default value)"]
[{"$nulls":18},"Min","Minimum value",{"$nulls":12},"Min","Minimum value"]
[{"$nulls":18},"Max","Maximum value",{"$nulls":12},"Max","Maximum value"]
[]
[]
[]
[]
[]
[]
[{"$nulls":18},"Timingset parameters (17..24)"]
[]
[{"$nulls":18},"ID","Name","Default",17,18,19,20,21,22,23,24,"Min","Max"]
[{"$nulls":18},1,"Cycle",120,-1,-1,-1,-1,-1,-1,-1,-1,60,300]
[{"$nulls":18},2,"Offset",0,-1,-1,-1,-1,-1,-1,-1,-1,0,9999]
[{"$nulls":18},3,"MaxExt",60,-1,-1,-1,-1,-1,-1,-1,-1,0,9999]
[{"$nulls":18},4,"F1f",50,-1,-1,-1,-1,-1,-1,-1,-1,0,9999]
[{"$nulls":18},5,"F1cf",10,-1,-1,-1,-1,-1,-1,-1,-1,0,9999]
[{"$nulls":18},6,"F1af",10,-1,-1,-1,-1,-1,-1,-1,-1,0,9999]
[{"$nulls":18},7,"F2af",10,-1,-1,-1,-1,-1,-1,-1,-1,0,9999]
[{"$nulls":18},8,"F2f",10,-1,-1,-1,-1,-1,-1,-1,-1,0,9999]
[{"$nulls":18},"Legend"]
[{"$nulls":18},"Default","Default value"]
[{"$nulls":18},"17 - 24","Value (-1 = default value)"]
[{"$nulls":18},"Min","Minimum value"]
[{"$nulls":18},"Max","Maximum value"]

{"sheet":"service","index":6,"n_rows":12,"n_cols":22,"rows_kept":12}
["System state",null,null,"Module state",{"$nulls":6},"Program versions",null,null,"Network configuration",null,null,"LCM state"]
[]
["Date/Time","2025-11-04 / 13:11:00",null,"ID","Module","State","Reason","Counter","Version",null,"Intersection","Jelgava: Liela / Petera / Brieza",null,"CCS telephone",null,null,"ID","Configuration","State","Version","BMAINS","VMAINS"]
["CPU load","R=10 L=0%",null,1,"SOLAR-1","ERR",0,1,0,null,"V-number","V06790",null,"CCS telephone (2)",null,null,1,"RRAG 42V","OK (0x11)",14,201,1]
["Mains voltage","42 volt / 50.0 Hz",null,2,"MMI-1","OK",0,0,1,null,"VRI Id",6790,null,"CCS IP address","255.255.255.255",null,2,"RRAG 42V","OK (0x11)",14,201,1]
["Mains voltage 2","0 volt",null,3,"LCM-3","OK",0,0,14,{"$nulls":4},"VRI IP address","255.255.255.255",null,3,"RRAG 42V","OK (0x11)",14,201,1]
["Temperature (CPU)","23 degrees",null,4,"LCM-2","OK",0,0,14,null,"Configurator : 1.5.009"]
["System voltage","23.5 volt",null,5,"LCM-1","OK",0,0,14,null,"Environment : 1.5.002",null,null,"Ethernet configuration"]
["CPU voltage","3.34 volt",null,6,"IO1616-1","OK",0,0,2,null,"Created at : 30.08.2024 23:19:37",null,null,"IP address","10.192.1.61"]
[{"$nulls":10},"Compiled at : 30.08.2024 23:30:18",null,null,"Subnet mask","255.255.255.0"]
[{"$nulls":13},"Default gateway","0.0.0.0"]
[{"$nulls":11},"***",null,"MAC address","00-04-cc-02-09-fa"]

{"sheet":"state","index":7,"n_rows":31,"n_cols":20,"rows_kept":31}
["Detectors",{"$nulls":9},"Lamps"]
[]
["ID","Detector","Occupied","Time","Fault","Fault(his)","Count","SWICO",null,null,"ID","Lamp","State","Faults","Current","Voltage","Power [W]","Auto","REF1","REF2"]
[1,"PB1",0,283,"----","----",1,"-",null,null,1,"V1R1","OK",0,0,0,26,0,2,0]
[2,"PB4",0,40,"----","----",2,"-",null,null,2,"V4R1","OK",0,1,1,26,0,2,0]
[3,"PB7",0,138,"----","----",2,"-",null,null,3,"V7R1","OK",0,0,0,28,0,2,0]
[4,"PB10",0,283,"----","----",1,"-",null,null,4,"V10R1","OK",0,1,1,27,0,2,0]
[{"$nulls":10},5,"V1R1L","OK",0,0,0,0,0,0,0]
[{"$nulls":10},6,"V4R1L","OK",0,1,1,0,0,0,0]
[{"$nulls":10},7,"GP1R1","OK",0,1,1,21,0,2,0]
[{"$nulls":10},8,"V7R1L","OK",0,0,0,0,0,0,0]
[{"$nulls":10},9,"GP4R1","OK",0,0,0,25,0,2,0]
[{"$nulls":10},10,"GP7R1","OK",0,1,1,19,0,2,0]
[{"$nulls":10},11,"GP10R1","OK",0,0,0,27,0,2,0]
[{"$nulls":10},12,"V1A1","OK",0,0,0,28,0,2,0]
[{"$nulls":10},13,"V10R1L","OK",0,1,1,0,0,0,0]
[{"$nulls":10},14,"V4A1","OK",0,0,0,27,0,2,0]
[{"$nulls":10},15,"GP1R1L","OK",0,1,1,0,0,0,0]
[{"$nulls":10},16,"GP4R1L","OK",0,0,0,0,0,0,0]
[{"$nulls":10},17,"V7A1","OK",0,0,0,27,0,2,0]
[{"$nulls":10},18,"V10A1","OK",0,0,0,27,0,2,0]
[{"$nulls":10},19,"V1G1","OK",0,1,1,22,0,2,0]
[{"$nulls":10},20,"V4G1","OK",0,0,0,21,0,2,0]
[{"$nulls":10},21,"GP7R1L","OK",0,1,1,0,0,0,0]
[{"$nulls":10},22,"GP10R1L","OK",0,0,0,0,0,0,0]
[{"$nulls":10},23,"V7G1","OK",0,1,1,22,0,2,0]
[{"$nulls":10},24,"V10G1","OK",0,0,0,21,0,2,0]
[{"$nulls":10},25,"GP1G1","OK",0,0,0,22,0,2,0]
[{"$nulls":10},26,"GP4G1","OK",0,1,1,32,0,2,0]
[{"$nulls":10},27,"GP7G1","OK",0,0,0,31,0,2,0]
[{"$nulls":10},28,"GP10G1","OK",0,1,1,32,0,2,0]